# W008 — Interactive Viewer Enhancement Report

Wave: W008 (completes W006 Option B — see docs/W006_INTERACTIVE_UI_PLAN.md) Status: ✅ Complete Generator: src/abacus_svg_pid/build_viewer.py Output: publish/interactive_viewer.html (single self-contained file, ~2.5 MB, no build step / no external assets) Tests: tests/test_w008_viewer.py (6 tests, green) · full suite 50 tests green Honesty mandate: every UI affordance shows provenance (reasons[]) and confidence; the heuristic crossmap is read-only — human decisions live in a separate triage file consumed by KNOWN_SEEDS on the next build_w006_crossmap run.

## 1. Summary

The W006 scaffold (layer toggles, pan/zoom, tag search, a confidence-coloured table and a placeholder popup) has been replaced by a production-ready engineering review surface. The viewer turns the W006 cross-map (43 of 97 design tags mapped, 44.3 %, all MEDIUM/LOW heuristic proposals) into an efficient manual triage workflow.

| Metric | Value |
| --- | --- |
| Design tags (rows, design mode) | 97 |
| As-drawn real tags (rows, as-drawn mode) | 141 |
| Mapped pairs | 43 (0 HIGH · 39 MEDIUM · 4 LOW) |
| Unmapped design tags | 54 |
| Hit-testable SVG markers injected | 141 (139 QCELL · 2 RFCELL) |
| Layers in the navigation tree | 21 |
| Sheets embedded | QCELL + RFCELL |

## 2. Features implemented

### 2.1 Core features (the five from the UI plan)

(a) Tag ↔ SVG element highlighting — bidirectional - Each real as-drawn instrument is overlaid with a hit-testable marker (a <g class="tag-mk" data-tag="…"> containing a visible ring + a transparent click circle), positioned from its catalog x/y in the shared 0 0 1527.2727 1080 viewBox. - Row/search → drawing: selecting a row outlines the corresponding marker, flashes it, and pans/zooms the drawing to centre it (auto-zooms to ≥2.4× if zoomed out). - Drawing → table: clicking a marker selects the matching table row and opens the metadata popup. If the clicked as-drawn tag has no design claim while in design mode, the viewer auto-pivots to as-drawn mode so it can still be shown.

(b) Confidence-based triage workflow - Filter chips for tier (HIGH/MEDIUM/LOW/unmapped or unclaimed), type (CV/TT/PT/…), and circuit band (40K/4.5K/2K/WATER/VACUUM/ROOM). - Quick views: all, unmapped/unclaimed only, needs review (MEDIUM/LOW), confirmed (triaged). - Live free-text search across tag / type / band / location. - Sortable columns (click any header; toggles asc/desc). - Per-row Confirm / Defer / Reject controls (and the same in the popup), persisted to localStorage and exportable as triage_decisions.json. Confirmed pairs are emitted into a known_seeds map ready to feed the engine’s KNOWN_SEEDS dict.

(c) Export & per-layer controls - 21-layer grouped, collapsible tree with per-layer show/hide checkboxes, per-group master checkbox, and all on / all off. - Export filtered table → CSV (columns adapt to the active mode). - Export composited view → SVG (per panel; honours current layer visibility, strips the marker overlay). - Export any single layer → SVG (per-panel dropdown; clones the drawing and keeps only the chosen lyr-NN class). - Export triage decisions → triage_decisions.json (KNOWN_SEEDS feedback file).

(d) Side-by-side QCELL vs RFCELL comparison - The Compare sheet button renders both atlases in two synchronised panels. A highlighted tag lights up on whichever sheet(s) it appears, and each panel keeps its own independent zoom/pan plus its own export controls.

(e) Design ↔ As-drawn toggle mode - The Design / As-drawn segmented control pivots the entire table and highlight behaviour between the design register (97 circuit-sequential tags such as CV001, with location + circuit band) and the as-drawn catalog (141 SVG-instance tags such as CV560, with sheet + layer + ISA class). Filters and stats rebuild for the active register.

### 2.2 UI / UX enhancements

- Search box in the top bar (also drives filtering + auto-selects the first hit).

- Colour-coded confidence indicators: tier pills (green HIGH / amber MEDIUM / orange LOW / slate unmapped / purple unclaimed) plus a per-row confidence score bar.

- 21-layer tree navigation grouped by the layer contract’s logical groups (00–13, with 03/04 fanned out), each group collapsible.

- Responsive layout: flex split with a collapsible sidebar (hamburger ☰ under 860 px); the table panel is vertically resizable.

- Zoom & pan: per-panel mouse-wheel zoom (cursor-anchored) and drag-to-pan, plus +/− /reset buttons in each panel header.

- Deep-link URL hash (#mode=…&sheet=…&tag=…&q=…&flag=…) so a reviewer can share an exact view; the viewer restores state on load.

- Metadata popup showing type, band, tier, confidence, sheet, location/layer, ISA class, xy, full provenance reasons[], and inline triage buttons.

## 3. Usage instructions

### 3.1 Build / regenerate

cd MINERVA_PID
export PYTHONPATH=src
python3 -m abacus_svg_pid.build_viewer       # regenerates publish/interactive_viewer.html
# or simply:
./make.sh                                     # full pipeline; viewer is the final step

The output is a single self-contained HTML file — open publish/interactive_viewer.html directly in any modern browser (no server required).

### 3.2 Reviewer workflow (triage)

- Open the viewer; it starts in Design mode on the QCELL sheet.

- Use Quick views → needs review (or the tier chips) to focus on MEDIUM/LOW proposals.

- Click a row → the drawing pans to the proposed as-drawn bubble and the popup shows why the heuristic proposed it.

- Decide with ✓ Confirm / ~ Defer / ✗ Reject (decisions persist locally).

- When done, click ⬇ Triage to download triage_decisions.json.

- Wire the known_seeds block into build_w006_crossmap.py’s KNOWN_SEEDS dict and re-run ./make.sh; confirmed pairs are legitimately promoted to HIGH with reason KNOWN_SEED (this is the only honest path to HIGH — test_no_fabricated_high_without_corroboration guards it).

### 3.3 Other tasks

- Compare drawings: Compare button → QCELL + RFCELL side by side, synced highlight.

- Inspect as-drawn coverage: As-drawn mode → 141 instances; unclaimed only shows the 98 instances no design tag mapped to.

- Isolate / export a layer: in a panel header pick a layer from export layer…; toggle layers in the sidebar tree then ⬇SVG to export the composited view.

- Share a view: copy the URL — the hash encodes mode/sheet/selected-tag/search/quick-view.

## 4. Technical architecture

- Generation: build_viewer.py (stdlib-first, optional PyYAML with a regex fallback) loads the crossmap, confidence, as-drawn catalog and the canonical register, joins them into two row models (designRows, asdrawnRows), embeds both annotated atlas SVGs, and emits one HTML file via token replacement (no f-string brace hazards, CSS/JS kept literal).

- SVG embedding: each atlas SVG is parked in a <script type="text/html" id="svg-SHEET"> block and inflated into a panel via innerHTML on demand (so Compare/sheet-switch can rebuild panels). Atlas SVGs contain no </script>, so this is safe.

- Marker overlay: _inject_overlay() inserts a <g id="tag-overlay"> of per-instrument markers inside each </svg>, in the same user-coordinate space, keyed by as-drawn data-tag. This delivers tag↔element linking without mutating the fragile source geometry (no CTM/transform edits) — the trade-off is approximate placement (see limitations).

- Layer model: the 21-layer contract from configs/layers.yaml maps 1:1 to the lyr-00…lyr-20 classes the atlas already carries (verified against build_w003_w004.LAYER_ORDER). Toggling adds a hide-NN class to each .svgpan; runtime-generated CSS rules .svgpan.hide-NN .lyr-NN{display:none} do the hiding.

- State & data flow: a single client-side S state object drives filtering/sorting/rendering; the heuristic crossmap is never mutated. Triage lives only in localStorage (minerva_triage) and the exported JSON — preserving the honesty invariant.

- No dependencies / no build step: pure HTML + CSS + vanilla JS, consistent with the repo’s ./make.sh reproducibility discipline. Derived output is git-ignored and regenerated on demand.

## 5. Known limitations

- Marker placement is approximate. Highlight markers come from each instrument’s catalog x/y (assign-distance median ~20 px), not a hit-test of the original drawn bubble. A tag lights up the correct neighbourhood, but the ring can sit slightly off the exact glyph. A future pass could annotate the bubbles in place during build_atlas_v6 for pixel-exact hits.

- RFCELL marker sparsity. Only 2 RFCELL instances carry coordinates in the as-drawn catalog (the W003/W004 category sheets are QCELL-dominant), so RFCELL highlighting is sparse — though the full RFCELL atlas still renders in Compare mode.

- No HIGH-confidence pairs yet. KNOWN_SEEDS is empty by design; all 43 mapped pairs are MEDIUM/LOW heuristic proposals awaiting human triage. HIGH only appears after confirmed seeds are fed back and the engine re-runs.

- Triage is local until exported. Decisions persist in browser localStorage and must be exported + wired into KNOWN_SEEDS to influence the map; this is deliberate (the viewer must not edit the heuristic crossmap).

- Export is SVG + CSV, not PNG. Vector exports (current view + per-layer) and filtered-table CSV are provided; client-side PNG rasterisation was out of scope (an exported SVG can be rasterised externally).

## 6. Examples (verified in-browser)

- Tag → element: selecting CV001 (design) centres and flashes the CV560 marker on QCELL and opens the popup CV001 ↔ CV560 (type CV, band 40K, conf 0.75, MEDIUM, location “pressurized GHe to 40K circuit”, reasons TYPE_MATCH · CIRCUIT_MATCH(40K) · ORDER_MATCH(#0/3)).

- Element → row: clicking the CV500 marker selects design row CV002 and opens its popup.

- Compare: Compare renders QCELL + RFCELL with markers shown; a selected tag highlights on the sheet it lives on while each panel zooms independently.

- As-drawn pivot: table switches to 141 instances; unclaimed only isolates the un-mapped catalog instances; headers pivot to as-drawn / design / sheet / layer.

- Triage: Confirm on CV001 turns the control green and persists; ⬇ Triage downloads triage_decisions.json with a populated known_seeds block.

## 7. Definition-of-done check (vs docs/W006_INTERACTIVE_UI_PLAN.md §6)

| DoD item | Status |
| --- | --- |
| 1. Tag ↔ SVG element linking, both directions (UI-1) | ✅ (overlay-marker based; approximate placement noted) |
| 2. Triage decisions persist and feed KNOWN_SEEDS (UI-2) | ✅ (localStorage + triage_decisions.json export) |
| 3. Filters + unmapped view (UI-3) | ✅ (tier/type/band chips + quick views) |
| 4. PNG/CSV export + deep links (UI-4) | ◑ CSV + SVG export + deep-link hash done; PNG raster deferred |
| 5. RFCELL sheet support (UI-5) | ✅ (sheet selector + Compare) |
| 6. tests/test_w008_viewer.py green; viewer step in make.sh exits 0 | ✅ |